Quality Project Execution Plan

KS65 SunFlower Sky

TABLE OF CONTENTS

1. QUALITY MANAGEMENT	3

1.1 QUALITY MANAGER	Error! Bookmark not defined.

1.2 Specific Job Deliverables	3

1.3 Schedule	7

1.4 Site Coordination	7

1.5 Procedures	9

1.6 Contract Requirements	11

1.7 STANDARD OPERATING PROCEDURES	11

1.8 Documentation	12

1.9 Responsibilities of Quality LEADERSHIP ONSITE:	13

1.10 Job Books:	14

1.11 Procore Setup:	14

1.12 Site-Specific Inspections	15

2. Communication Standards	15

2.1 COMMUNICATION METHODS FOR TRANSFER OF INFORMATION	15

2.2 ON-SITE MEETINGS	16

3. Pre-CONSTRUCTION Requirements	17

4. Identified Risks	18

4.1 Risks	18

## QUALITY MANAGEMENT

Director of Quality – Jonathan MacDonald

Email – jonathan.macdonald@depcompower.com

Regional Quality Manager – John Quick

Email – john.quick@depcompower.com

Phone - (843) 287-2419

Site Quality Manager - Chris Frye

Email – chris.frye@depcompower.om

Phone - (740) 571-7417

QA Lead Technician – Gavin Lowry

Email – gavin.lowry@depcompower.com

Phone – (620) 212-5122

### 1.2 Specific Job Deliverables

This section outlines the specific job deliverables related to quality management. It includes all inspection reports and contractually required First Article Inspections (FAIs). FAIs are always to be completed on the golden row/area/item which, after created and located, shall be the same golden row for every scope, if possible

Civil FAI & Inspection Reports

Civil Topography and GPS

Silt Fence

Super Silt Fence

Silt Fence Outlets

Permanent Sediment Basins

Temporary Sediment Basins

Sediment Traps

Sediment Basin / Trap Conversions

Basin Risers

Culverts

Soil Stockpiles

Project Roads (Subgrade)

Project Roads (Aggregate)

Construction Entrances (Subgrade)

Construction Entrances (Aggregate)

Site Clearing, Grubbing and Grading

Seeding

Permanent Fence and Gates

Foundation- Pre Pour

Foundation - Pour

Foundation - Concrete Piers

Foundation - post-pour

Foundation - PCS BESS Foundation - Steel Driven Piles/Helical Piles Installation

Electrical FAI & Inspection Reports

DC Cable Trenching

CAB System

Fence Grounding Installation

Wire Management Installation

Mechanical Combiner Box Installation

Electrical Combiner Box Installation

DC Inverter Terminations

MC4 Connector Installation

MVAC/LVAC Trench Installation

Underground PCS Grounding Electrode and Equipment Grounding System Installation

Generation Collection Metering Switchgear Installation

ACMV Transformer Termination

Generation Sectionalizing Cabinet

PCS Auxiliary Power Rack Installation

PCS Auxiliary Power Rack Terminations

PCS Conduit Rough-In Installation

PCS Skid Grounding Terminations

String Inverter Installation

MET Station, Pyranometer, Weather Sensor, Soiling System, And DAS Installation

Mechanical FAI & Inspection Reports

NexTracker Survey, Pre-Drill, & Pile

NexTracker Singel Axis Tracker

NexTracker Module Installation

Logistics Inspection Reports

Material Receiving Inspection Report

Inverter/Transformer Skid Receipt Inspection Report

Substation FAI & Inspection Reports
Material Equipment Receiving 
Foundation Excavation & Preparation 
Foundation Installation 
Grounding System Installation 
Low Side Primary Installation 
High Side Primary Installation 
Dead end structure Installation 
GSU Installation
Capacitor Bank Riser, Switch, & Bus Support  installation 
Capacitor Bank Installation 
AC cable Termination 
Low Side/High Side Breaker Foundation Excavation & Preparation 
Control Enclosure Receiving Inspection
 Control Enclosure Installation
 Control Enclosure Drilled Piers (if applicable)

All inspections shall be transmitted using the Transmittal tool in Procore once complete

All FAIs shall be submitted via the Procore Submittal Tool for Evergy review and Signature if they are unable to attend in person

### 1.3 Schedule

The schedule of FAIs and Inspection milestones should be aligned with the construction schedule. This ensures that inspections are conducted at the appropriate stages of the project, allowing for timely identification and resolution of any quality issues.

(see attached site specific construction schedule).

KS65 Working Construction Schedule

### 1.4 Site Coordination

Effective site coordination is crucial for maintaining quality standards. This section details the roles, responsibilities, and expectations of the site team. It also includes a staffing plan that aligns with the construction schedule, outlining the duties expected to be performed. Additionally, an escalation plan and coverage plan will be in place to address absences or surges in work.

KS65 Sunflower Sky Quality Manpower & Equipment Schedule

QUALITY EXPECTATIONS OF THE DISCIPLINED SUPERINTENDANTS (Civil/Mechanical/Electrical)

- Well trained in the Drawings, site-specific tolerances, specifications, the various RFIs and the wider quality process.

- They will be the ‘first line of quality, each day, while they work with the Discipline Subcontractors

QUALITY EXPECTATIONS OF THE FIELD ENGINEER

- Serve as the on-site technical expert, ensuring project specifications are met, and quality standards are upheld throughout construction.

- Identify, report, and help resolve deviations from quality requirements.

- Collaborate with subcontractors and quality managers to address quality concerns and implement corrective actions.

QUALITY EXPECTATIONS OF THE CONSTRUCTION MANAGER

- Lead the on-site construction team to deliver projects safely, on time, within budget, and to the highest quality standards.

- Develop and communicate project plans, schedules, and objectives to the team and subcontractors.

- Support quality personnel in executing inspections and resolving quality issues.

- Facilitate regular meetings with subcontractors and internal teams to review progress and address concerns.

- Monitor and enforce compliance with safety, regulatory, and company standards.

QUALITY EXPECTATIONS OF THE ASSISTANT CONSTRUCTION MANAGER

- Oversee daily field operations to ensure work aligns with project plans, specifications, and quality standards.

- Observe and report any deviation from the drawings or if something is not correct

### 1.5 Procedures

This section covers various procedures related to quality management. It includes the area/scope turnover procedure, education for the site team on quality processes and procedures, and a page turn of the Inspection Test Plan (ITP).

1.5.1 Quality Procedures & Definitions (Documents located in Procore):

- FAIs – referencing directly to the ITP, each procedure will have an associated FAI conduction with the Site QM, disciplined superintendents, FEs, and Client present (if available) to ensure the scope of work is correct upon the first installation of each item before continuing production. (Please reference the attached site-specific ITP which is available for an educational page turn)

- RFIs & Submittals – Are handled by Field Engineers, Quality Managers, and Project Engineers which will be tracked and referenced in Procore

- Calibration Certs – Certifications will be required, verified and filed for torque wrenches, laser levels, topography survey equipment, and GPS equipped machinery.

- Inspections – referencing the ITP, located in Procore, each procedure will have an associated inspection conducted upon completion. If any line item in the inspection fails, it will automatically trigger an observation and notify the correct party of the issue.

- Observations – Any and all items that are recognized to deviate from IFCs, RFIs and Contractual Requirements will be recorded as observations with the condition of three business days to submit a remediation plan or fix the issue before it converts to an NCR and will be tracked in Procore.

- NCRs – Any and all items that deviate from contractual requirements, dependent upon severity, can become NCRs and will be tracked in Procore. (If there are still open items when SC is reached, they will be transferred to the Punchlist)

1.5.2 Turnover Procedures:

- Area Turnover Civil – Pay close attention to work being performed as there will be specified hold points that must be documented during the various phases of construction for Project Road Installation (Sub-grade/Aggregate), Construction Entrances (Sub-grade/Aggregate), Temporary/Permanent Sediment Basin Installation, Sediment Trap Installation, Basin Conversion (Elevations, Erosion Control Blankets, etc), Culvert Installation, Clearing, Grubbing, & Grading, and Seeding to name a few.  Each area pertaining to civil will be defined as Phase A-G with further location broken down if needed.

- Area Turnover Mechanical – Each array, section, and row will be a defined location with turnover for all included components installed

- Area Turnover Electrical – Each array will be a defined location with turnover for all included components installed. Everything outside the arrays will be classified by their nomenclature and captured within their own turnover package. Ex: GSC cabinets

1.5.3 Continuous Education

Kick off Quality presentation for each new subcontractor that mobilizes to site, Procore training, Contract and ITP Page turns, FAIs, Torque Classes, and Discrepancy identification training, along with weekly lessons learned meetings to ensure proper communication across not only this Project, but all DEPCOM Projects.

1.5.4 Golden row

After being created and located, shall be the same golden row for every scope, if possible, to be determined by sequence of construction and availability,

1.5.5 Open Item Tracker

A living document inside Procore that will be ongoing throughout the project to help stay on top of any issues, action items, etc., that may arise. Using this tool, along with weekly meetings to ensure proper communication has shown that by the time the project reaches MC/SC there is very minimal if any items on the punch list. Stay Proactive, not Reactive.

### 1.6 Contract Requirements

Both standard & non-standard contract requirements should be clearly outlined in this section. It should also provide a breakdown of subcontractor versus DEPCOM activities and responsibilities, as well as a list of subcontractors' expected deliverables to DEPCOM.

* (Refer to the site-specific ITP for DEPCOM and Subcontractor deliverables (this may create a challenge as sub-contracts are typically not fully executed all at once i.e. Civil, Electrical, Mechanical) *

### 1.7 STANDARD OPERATING PROCEDURES

Reason for SOPs (Standard Operating Procedures):
SOPs provide clear, standardized instructions to ensure consistency, safety, and quality in performing tasks. They help reduce errors, improve efficiency, and ensure compliance with regulations and company standards. SOPs also serve as a training tool and reference for both new and experienced employees.

When SOPs Should Be Reviewed:

- Whenever there are significant changes in processes, regulations, equipment, or technology.

- After incidents, audits, or feedback that indicate a need for improvement.

- When new best practices or lessons learned are identified.

Roles, Responsibilities, and Expectations (RR&Es) in the SOP Review Process:

Role:

- SOP Owner: Typically, the process manager or subject matter expert responsible for the SOP.

Responsibilities:

- Initiate and coordinate the review process according to the review schedule or triggering events.

- Gather input from relevant stakeholders (e.g., safety, quality, operations, compliance).

- Update SOP content to reflect current best practices, regulatory requirements, and company standards.

- Ensure proper documentation and version control of all changes.

- Communicate updates and provide training as needed.

Expectations:

- Reviews are thorough, timely, and collaborative.

- All changes are clearly justified and documented.

- Stakeholders are engaged, and their feedback is considered.

- Updated SOPs are communicated and accessible to all affected employees.

- Compliance with the SOP is monitored and reinforced.

### 1.8 Documentation

Proper documentation is essential for quality management. All Quality documentation will be stored in Procore along with 1 hard copy binder available for Evergy

*(Refer to the assigned documents folder in Procore, along with the hardcopy binders that contain all required deliverables, all inspections will be transmitted as soon as they are completed) *

### 1.9 Responsibilities of Quality LEADERSHIP ONSITE:

1.9.1 PRIMARY OBLIGATIONS OF THE SITE QUALITY MANAGER:

• Overseeing all aspects of the quality program, encompassing civil, electrical, and structural facets, such as roads, foundations, piles, racking systems, DC and AC electrical components, controllers, inverters, transformers, substations, PV array until mechanical completion.

• Supervising a structured operational assurance initiative aimed at ensuring compliance with both contractual agreements and regulatory requirements, fostering, and showcasing adherence.

• Demonstrating a comprehensive understanding of project plans, specifications, and blueprints, integrating them into on-site tasks and developing Inspection and Test Plans (ITPs)

• Investigating instances of non-compliance and executing corrective strategies and measures

• Assessing, processing, and maintaining project quality documentation, providing guidance to quality inspectors and construction teams, and offering quality training to all members of the project team and subcontractors.

• Prioritizing client satisfaction and adhering to project timelines for work completion.

• Efficiently supervising quality personnel responsible for conducting audits, inspections, surveillance, and testing activities in alignment with the project's quality framework.

1.9.2 PRIMARY OBLIGATIONS OF THE SITE QUALITY INSPECTOR:

- Assist the Site Quality Manager (SQM) in carrying out all assigned duties.

- Provide support to Construction Superintendents, including explaining Inspection and Test Plans (ITPs), hold points, conducting quality checks, defining the inspection schedule, and overseeing observations.

- Assisting with the delivery of quality documentation.

### 1.10 Job Books:

- Evergy Contract Deliverable for Job books is 1 electronic copy given to the client at project turnover along with a hardcopy binder for each circuit with all inspections, tests, material receiving, etc. inside that collates to that specific circuit. This documentation will live in Procore as well

### Procore Setup:

Outline the timeline for setting up Procore and the process workflows, including distribution groups, correspondence, observation and NCR workflows, and inspection workflows. This helps streamline project management and communication.

See link to Procore Setup SOP

DPI-QA-SWI-0008 SQM Checklist 1.docx

### 1.12 Site-Specific Inspections

Refer to section 1.2 of the QEP, the Site Quality Manual, and Inspection Test Plan for site-specific inspections. This ensures that all inspections are conducted according to the established guidelines.

## 2. Communication Standards

### 2.1 COMMUNICATION METHODS FOR TRANSFER OF INFORMATION

Clear communication is essential to project success. Set standards for various communication methods to ensure everyone is updated, and issues are resolved quickly. Information can be communicated through:

- Email: Use email for formal communication, documentation, and sharing important updates with clients, subcontractors, and site teams.

- Procore: Utilize Procore for project management, including sharing documents, tracking progress, and collaborating with team members in real-time.

- Meetings: Schedule regular meetings, such as weekly check-ins, to discuss project status, address concerns, and ensure alignment among all stakeholders.

- Instant Messaging: Use instant messaging platforms for quick, informal communication and immediate responses to urgent queries.

- Phone Calls: Make phone calls for direct, personal communication, especially when discussing sensitive or complex issues.

- Procore Submittals Tool: Use to submit FAIs, Quality Plan, RFIs, etc.

- Procore Transmittals Tool: Use to transmit completed inspections, etc

By leveraging these communication methods, we can 		maintain clear and effective transfer of information	throughout the project lifecycle

### 2.2 ON-SITE MEETINGS

Establish weekly meetings with all parties to ensure timely information sharing and address concerns efficiently. Excellent communication along with drawing reviews, and strong cross functional collaboration/communication will keep the project flowing smoothly with very little issues.

Always be proactive instead of reactive.

Pre-con Meeting - (before CSD)

ITP Page turn meeting - (at or around CSD, ensuring to include all sub-contractors as the mobilize to site, and again as needed)

FAI requirement meeting - (subcontractor mobilization and ongoing training throughout the project)

Procore Site Specific Quality Documentation Update - (twice a week as the SQM is learning Procore and building report with the site team, then when comfortable, weekly)

Quality orientation - (administered at CSD, as each subcontractor arrives, and then as needed when new personnel arrive on-site)

RFI review meeting - (weekly)

CA meeting - (can be added to existing environmental meeting weekly)

NCR / Observation Meeting - (weekly)

Scheduling / Turnover Meeting - (with subcontractors and site team weekly)

Quality Look Ahead- (weekly with subcontractors and their quality personnel)

Open Item Tracker Review Meeting - (weekly to stay on top of ongoing issues, communicate, and find solutions to them)

Torque Wrench Training - (upon start of use and as needed)

## 3. Pre-CONSTRUCTION Requirements

This section details the pre-construction requirements, including SOP reviews, tool usage verification, and subcontractor quality plan reviews. Ensuring that all pre-contracting requirements are met helps set the foundation for a successful project.

-Construction Requirements:

3.1 SOP Reviews:

  - Ensure all relevant Standard Operating Procedures (SOPs) are reviewed and updated before the project start.

  - Confirm that SOPs reflect current best practices, regulatory requirements, and project-specific needs.

  - Communicate any updates to the project team and provide necessary training.

3.2 Tool Usage Verification:

  - Inspect and verify that all tools and equipment are in safe, working condition and meet project specifications.

  - Confirm that operators are trained and qualified to use the required tools.

  - Maintain records of inspections, certifications, and training.

3.3 Subcontractor Quality Plan Reviews:

  - Require all subcontractors to submit project-specific quality plans for review and approval.

  - Assess plans for alignment with project quality standards, Inspection Test Plans (ITPs), and regulatory requirements.

  - Address gaps or concerns with subcontractors before work begins.

Why These Steps Matter:
Meeting these pre-construction requirements ensures clarity, consistency, and readiness across the project team and subcontractors. This proactive approach reduces risks, prevents delays, and establishes a strong quality foundation.

## 4. Identified Risks:

### 4.1 Risks

This section highlights any risks with the project pertaining to quality, these could include but are not limited to: Civil, Mechanical, Electrical, Staffing, Environment, Contract Language, Subcontractor, and any other areas that may impact project outcomes. It Carefully assesses each risk category, providing a brief description of the potential issue, the possible impact on project quality, and any proposed mitigation strategies. Documenting these risks ensures proactive management and supports continuous improvement throughout the project lifecycle. (Example: if module serial number is required along with installation location, node controller scans, Cx deliverables being tied to a quality function, client hold points, mention here.

4.2 Civil Risks

- Potential Issue: Inadequate soil compaction or improper grading.

- Impact: Foundation instability, rework, schedule delays.

- Mitigation: Require third-party testing, enforce SOPs for compaction, and conduct regular inspections.

2. Mechanical Risks

- Potential Issue: Incorrect installation of mechanical systems or use of unapproved materials.

- Impact: Equipment failure, safety hazards, costly repairs.

- Mitigation: Verify materials against submittals, use qualified personnel, and perform pre-installation reviews.

3. Electrical Risks

- Potential Issue: Improper wiring, missing module serial number tracking, or node controller scan errors.

- Impact: System malfunctions, failed inspections, and warranty issues.

- Mitigation: Implement robust inspection and documentation processes, use digital tracking tools, and provide targeted training.

4. Staffing Risks

- Potential Issue: Insufficient or unqualified personnel.

- Impact: Quality lapses, safety incidents, project delays.

- Mitigation: Confirm staffing plans, verify certifications, and provide ongoing training.

5. Environmental Risks

- Potential Issue: Non-compliance with environmental regulations or inadequate erosion controls.

- Impact: Regulatory penalties, project shutdowns, and reputational damage.

- Mitigation: Review environmental plans, conduct site audits, and ensure all controls are in place before work begins.

6. Contract Language Risks

- Potential Issue: Ambiguous or incomplete quality requirements in contracts.

- Impact: Disputes, unmet client expectations, rework.

- Mitigation: Involve quality and legal teams in contract reviews, clarify deliverables (e.g., Cx documentation, client hold points), and document all agreements.

7. Subcontractor Risks

- Potential Issue: Subcontractor quality plans not aligned with project standards.

- Impact: Inconsistent work quality, increased NCRs, delays.

- Mitigation: Review and approve all subcontractor quality plans, conduct kickoff meetings, and monitor performance closely.

8. Other Risks (as applicable)

- Potential Issue: Incomplete documentation or missed client deliverables tied to quality functions.

- Impact: Delayed project closeout, client dissatisfaction.

- Mitigation: Track deliverables with checklists, assign clear ownership, and schedule regular progress reviews.

Documenting these risks and mitigation strategies enables proactive management, supports continuous improvement, and helps ensure project quality objectives are met.

KS65 SUNFLOWER SKY RISKS

Example 1: Exhibit A from the EPC agreement for Sunflower Sky: 3.8.6 Where commercially reasonable, solar PV module string arrangement shall group modules in accordance with make and model as well as manufacture bin class to minimize impact of panel mismatch losses.

Example 2: Exhibit A Attachment 12 from the EPC Agreement

QA/QC PROGRAM PERSONNEL

The Contractor’s Quality field staff shall include personnel appropriately assigned and

qualified to quality control and assurance as all or part of their job responsibilities.

To the extent possible, these personnel shall be free of the influences of production

and schedule requirements and have authority to stop and/or reject Work. Contractor

shall prohibit discrimination against employees who raise safety or quality concerns.

Any construction work executed directly by the EPC Contractor shall be

reviewed for quality by a 3rd party Quality Contractor with the same

qualifications outlined in 4.1. The 3rd party Quality Contractor shall be

procured by Contractor and mutually approved by Contractor and Owner